## Slide 1: Sensing and interactions developments for life sciences and environmental applications
ALIVE Strategic Axis

## Slide 2: Context
Domains, which are large applicants and consumers of sensors and actuators
Need of detecting, analysing and/or quantifying multiple analytes, multiple events or changes
Biology, Medicine
Environment
Notes: Biology, medicine and environment are applicative domains, which….

## Slide 3: Applicative domains repartition at LAAS
Chart: 
| Environment | BioMed
Applicative domain repartition at LAAS | 15 | 51
BioMedical
Environment
15 researchers (23%)
51 researchers (77%)
Diagnostic
Prognostic
Therapeutic monitoring
Ubiquitous healthcare
Cellular and molecular mechanisms comprehension
Quality of :
    Air
    Water
    Food
    Soil
Impact of potential pollutants :
    Heavy metals
    Volatile Organic Compounds
    Nanoparticles
    Pesticides
    Electromagnetic waves
    …
Precision agriculture; agronomy
among researchers dealing with sensing and interactions
Notes: On this chart, you can see the applicative domains repartition at LAAS among researchers dealing with sensing and interactions. The biomedical one involves around 50 researchers at least, which corresponds to 3 quarters of ALIVE researchers working in this area. The main related investigations deal with diagnostic and prognostic of diseases, therapeutic monitoring, ubiquitous healthcare and for fundamental aspects toward further comprehension of cellular and molecular mechanisms.
ON the other side, the environment domain involves roughly 15 researchers, the other quarter of this chart. And corresponding investigations are dealing with the quality of …

## Slide 4: Environment sensing
Gas sensing :
Selective gas detection with nanowires sensors
Calibration data of ISFET-pNO3 and –pNH4
1 : Platinum electrodes (conductivity and humidity)
2: Reference Electrode
3: ISFET-pH/pNO3-/pNH4+
4: MOSFET for temperature sensor
Functionalisation
ISFET-pH - ISFET-pNO3 -ISFET-pNH4
Embedded system in real conditions
Soil sensing :
Electrochemical sensors for agroindustries
Resistor configuration
Or Impedance vs freq
V
Ground
I
50 ppb
70 ppb
90 ppb
B. Durand et al. IEEE-NMDC.2016
Notes: 1rst ex : Gas particles quantification with Resistance measurement after selective attachment of these particles on the nanowires
2nd ex : electrochemical sensor based on an ISFET technology to characterize nitrate concentrations in soils for agriculture industries.
Both sensors have been realized in the LAAS clean room facility, involving both nano and microfabrication processes.

## Slide 5: Environment impact on the living
Radiated microtissue
Followed by traditional biological analysis : genotoxicity, membrane permeabilization evaluation
Microdosimetry
Controled SAR
Electromagnetic waves interaction
with the living
)))
Realization of smart wireless electronic patches
for fragile population monitoring
Indoor-outdoor continuous monitoring (fall detection and localization)
Stress detection module
Multi function hybrid integration
Correlation of cardiac and physic activity
No exposure
No exposure
Exposure
Notes: Another example is about the electromagnetic waves interaction with the living. It is indeed important to evaluate and quantify the impact of surrounding waves on cells, as we have with WIFI, Bluetooth… and new standards under development at higher frequencies. To perform such evaluation, the development of radiofrequency applicators for microdosimetry and controlled SAR - Specific Absorption Rate, are requested and you see here an example of one.
If interaction is characterized as nocive, then new EM waves constraints should be taken with modified standards; whereas it may also find therapeutic applications, as it is done for instance with electroporation to enable an easier access of therapeutic agents or genes or inversely to kill unwanted cells.
On the other side of this slide, you can see a complete system based on multiple sensors for Monitoring fragile population thanks to smart wireless electronic patches. The monitoring may be done in space, in time and well-adapted for ubiquitous healthcare. This is also an excellent example of multi function hybrid integration enabled by the different fabrication platforms of LAAS.

## Slide 6: Sensing techniques repartition within the BioMedical field
Electrical
Microwave
Optic
Mechanical
Chart: 
| Optic | Microwave | Electrical | Mechanical
Team number | 4 | 1 | 5 | 3
3
4
5
1
Involved teams at LAAS
➜ Richness of sensing techniques at LAAS

## Slide 7: In vitro biomechanical sensing
Large scale and high throughput nanomechanical cell characterization using AFM
Formosa et al. Nat. Protoc. 2015
Mechanical forces exerted by immune cells when migrating inside confining environments
E. Desvignes et al. submitted to NanoLetters 2018
Cell forces quantified with real time optical analysis of pillar displacement
AFM technique extension from single cell to cell network analysis to ensure sufficient bio statistic
Notes: Force sensors are also developed. In this example deformable polymer micro-pillars are integrated inside confining micro-channels of 6 µm - 12 µm
for detecting and quantifying the mechanical forces exerted by immune cells when migrating inside these confining environments. Through the real time optical analysis of pillar displacement, cell forces are quantified and the role of nucleus in cell nanomechanics revealed in very narrow highly confining channels.

## Slide 8: In vitro label-free bioelectrical sensing
Rat neuronal activity recorded by nano-electrodes in liquid environment
Casanova et al. Journal of Physics (2018)
Casanova et al. IEEE IEDM’17 + patent
Nano-probes
Non invasive microwave-based cell sensing/monitoring
)))
)))
A. Tamra et al, IEEE TMTT 2017 ; K. Grenier et al, IEEE IMS 2018
1µl
1mm
)))
RFIN
)))
RFOUT
From cell suspensions down to single cell analysis in culture medium
Label free cell discrimination of B lymphoma cell sub-populations
NW inside cell
S/N ratio > 2000
Notes: Measurement made after 15 incubation days for electrical maturity on primary cells
Commercial planar electrodes (MEA) : S/N around 10 => 2 decades improvement with NW
3 um height with a 200nm diameter

## Slide 9: In vitro biophotonic sensing
Optical feedback interferometry flowmetry sensor in a microfluidic chip with VCSEL and integrated optics
Yu Zhao et al. Opt. Express 2016
Yu Zhao et al. Eurosensors 2017
Single-nucleotide difference discrimination for pancreatic adenocarcinoma diagnostic
J. Cacheux et al. ACS Sensors. 2018
Collimation
Focusing
<1cm
Fluid
With integrated lens
Miniature and non destructive flow velocity quantification
Selectivity enhanced with nanofluidic confinement
Notes: Two examples of in vitro biophotonic sensing , one is a biosensors that takes advantage of nanofluidic confinement to increase the sensor selectivity down to one base pair on a short (20bp) oligonucleotide for cancer application.
requiring a bio-functionalization to obtain the required selectivity in single nucleotide difference discrimination, in a highly challenging cancer problematic , defined sensing is obtained with large optical and expensive lab equipments; whereas the second ex. deals with the miniaturization of an optical sensing technique based on a feedback interferometry sensor enabling flow velocity quantification in blood for instance, with a high degree of miniaturization due to the suppression of the macro-optics, and therefore low cost
Results as good as with macro and bulk optics
This study is at the in vitro stage for now
in movement => Dopler effect ; non invasive, label free; auto aligned (source and detector are the same), portable ; non intrusive, fast, accurate (optic) ; simple and robust

## Slide 10: In vivo sensing
- Early detection of melanoma
- Impact of ≠ treatments on lymphoedema
K. Grenier et al, IEEE IMBioC 2017
B Susini Garmy et al. ATVB 2018
Chart: 
| -8.5171794080027308 | -27.220891322348098 | -16.890617367128499 | -1.4888206564664299 | -12.011005404539899 | -9.8638563776074193 | -6.0425464092574854
sain | -134.4098 | -292.6737 | -228.1935 | -71.8639 | -152.7393 | -144.6724 | -83.238
tum | -354.5838 | -415.2012 | -296.733 | -510.5368
Absorption* (dB)
Phase of the reflection coefficient (°)
Healthy skin
Melanoma
Subcutaneous Y shape vein blood flow image recorded by an Optical Feeback Interferometry system
Perchoux et al. Sensor (2016)
Vein image
Non invasive skin microwave sensing
Penetration depth of several mm to cm
Notes: Whereas with larger optical equipment, blood flow image has already been obtained successively. So previous work could lead to such an equipment of only 1cm square.
Strong resolution.
Further penetration depth with microwave sensing
Still dealing with non invasive in vivo analysis, microwave sensing may also be applied for skin investigations, early melanoma detection for instance or also evaluation different treatment for patients presenting lymphoedema, due to large variation of water content of the tissues.

## Slide 11: In vivo sensing
Intelligent transdermic patch using a ionophoresis technique
Accelerated diffusion
Soft Neural Probes for brain recording
V. Castagnola et al. Biosensors and Bioelectronics 2015
Implantable neural prosthetics device
- Efficiency
- Biocompatibility
- Stability
of the implanted electrodes
Notes: Work also on implants

## Slide 12: Industrial transfers examples
DNA biomarker identification through size profiling in blood sampling
Sensitivity down to 10 fg/µL
Waveguide in reflection
Waveguide in transmission
Chart: Time (min)
| 0 | 5 | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50 | 55 | 60 | 65 | 70 | 75 | 80 | 85 | 90 | 95 | 100 | 105 | 110 | 115 | 120 | 125 | 130 | 135 | 140 | 145 | 150 | 155 | 160 | 165 | 170 | 175
Moyenne 30%wt | 0 | 0.03132 | 0.045395 | 0.05498 | 0.05855 | 0.061052 | 0.065377 | 0.064436 | 0.0662 | 0.068188 | 0.070806 | 0.072891 | 0.072805 | 0.075331 | 0.074912 | 0.075446 | 0.0758 | 0.075958 | 0.077675 | 0.07799 | 0.079165 | 0.08153 | 0.08227 | 0.080149 | 0.080794 | 0.083025 | 0.083276 | 0.083966 | 0.086575 | 0.085581 | 0.087258 | 0.084905 | 0.087016 | 0.087583 | 0.088434 | 0.090748
TiO2-7 | 0 | 0.021421 | 0.028941 | 0.026555 | 0.023459 | 0.024566 | 0.024389 | 0.023696 | 0.024425 | 0.029651 | 0.028758 | 0.026072 | 0.02709 | 0.02832 | 0.026081 | 0.028785 | 0.026242 | 0.030727 | 0.02998 | 0.030451 | 0.029817 | 0.029683 | 0.034153 | 0.032619 | 0.033138 | 0.030087 | 0.029899 | 0.031033 | 0.029552 | 0.030062 | 0.031198 | 0.031299 | 0.033094
Moyenne C=5%wt | 0 | 0.010184 | 0.019656 | 0.024577 | 0.027608 | 0.028028 | 0.028987 | 0.03286 | 0.033331 | 0.033689 | 0.034688 | 0.036316 | 0.036547 | 0.035571 | 0.03966 | 0.036721 | 0.037143 | 0.043273 | 0.043109 | 0.043749 | 0.046337 | 0.045774 | 0.048506 | 0.051369 | 0.051446 | 0.050715 | 0.050834 | 0.05216 | 0.054644 | 0.053435 | 0.052637 | 0.052825 | 0.052201 | 0.053112 | 0.052913 | 0.051597
MOYENNE C=1%wt | 0 | 0.005917 | 0.0075699 | 0.0070872 | 0.0088498 | 0.010781 | 0.011254 | 0.011495 | 0.01015 | 0.013319 | 0.011717 | 0.013115 | 0.012918 | 0.013069 | 0.014421 | 0.011389 | 0.01079 | 0.010888 | 0.010848 | 0.010805 | 0.012329 | 0.011129 | 0.009297 | 0.012092 | 0.013669 | 0.014398 | 0.012164 | 0.012888 | 0.012461 | 0.015067 | 0.013385 | 0.013725 | 0.014186 | 0.013321 | 0.015976 | 0.013848
1%wt
10%wt
C=30%wt
5%wt
Instrumentation for highly concentrated, diffusive and/or absorbing colloidal solutions stability analysis
« RF BLACK »
Patented
Non-invasive and non-destructive monitoring of TiO2 sedimentation
Notes: One you already saw, related to biology with DNA biomarker identification, one related to environment related to the stability of colloidal solutions as they may be found in the bottom of rivers or muds.

## Slide 13: Conclusions - Perspectives
Similar shared orientations for the BioMedical and Environment domains
Diagnostic
Monitoring
Living comprehension
Controlled/artificial environment
in accordance with the “System” approach of the LAAS
in-house sophisticated micro-nanofabricated sensors
and/or integrated complete sensing systems
in vitro and with an intensification of in vivo investigations
involving
With an intensification toward environment applications and an extension to other domains : Chemistry, Space, Silver economy
Taking advantages of the richness of LAAS with artificial intelligence, energy harvesting, wireless sensors networks…

## Slide 14: The final words
Using the living as a sensor
Living materials
Sensing, analyzing, monitoring the living
Interacting with the living, leading to effects